## Calculator
Integra Family/Multi-Drop Technology Contractor Savings Calculator
Site Specs | Modifiable Data |  |  | LLD/STP Runs | Totals
# of tanks | 2 |  |  | LLD Runs | 2
# of islands (dispenser sumps) | 4 |  |  | Ann. Runs | 2
Risers to be installed? (yes or no) | yes |  |  | STP runs | 2
LLD? (yes or no) Not available on Integra 100 | yes
Double Wall Tank? (yes or no) | yes
Number of STP sensors per tank (1 or 2) | 1 |  |  | Without Integra Variables
Est. dsitance to closest dispenser | 100 |  |  | Total home runs needed | 12
Est. distance to closest tank | 150
Rate per contractor hour | 100 |  |  | Wire in Installation (in feet) | Totals
|  |  |  | With Integra | 945
With Integra Variables | Totals |  |  | Without Integra | 2100
Total home runs needed | 4
Conduit savings | 204 |  |  | Wire Waste Data (in feet) | Totals
Wire savings | 1680 |  |  | With Integra | 555
Labor Savings | 700 |  |  | Without Integra | 400
$ amount saved with Integra | 2584
% difference with Integra | 24.77%
With Integra |  |  |  | Without Integra
QTY | Description | Cost | Total Cost | QTY | Description | Cost | Total Cost
0 | 4" Riser Pipe | 54 | 0 | 0 | 4" Riser Pipe | 54 | 0
0 | 18" Manhole | 123 | 0 | 0 | 18" Manhole | 123 | 0
43 | Rigid Metal Conduit (10 ft pieces) | 17 | 731 | 55 | Rigid Metal Conduit (10 ft pieces) | 17 | 935
2 | Explosion Proof Junctiton Box | 123 | 246 | 2 | Explosion Proof Junctiton Box | 123 | 246
3 | Concrete (per yard) | 154 | 462 | 3 | Concrete (per yard) | 154 | 462
1 | Small Excavator (per week) | 385 | 385 | 1 | Small Excavator (per week) | 385 | 385
1 | Bobcat (per day) | 385 | 385 | 1 | Bobcat (per day) | 385 | 385
1 | Concrete Saw (per day) | 154 | 154 | 1 | Concrete Saw (per day) | 154 | 154
1 | Concrete Blade | 77 | 77 | 1 | Concrete Blade | 77 | 77
1 | Labor (Start up/roughly 1 day labor) | 770 | 770 | 1 | Labor (Start up/roughly 1 day labor) | 770 | 770
10.75 | Labor (Conduit installation hours) | 100 | 1075 | 13.75 | Labor (Conduit installation) | 100 | 1375
2 | Labor (Wiring hours Installation hours) | 100 | 200 | 6 | Labor (Wiring Installation) | 100 | 600
650 | Truck Fuel (per mile, per truck) | 1.3 | 845 | 650 | Truck Fuel (per mile, per truck) | 1.3 | 845
3 | 500 ft wire spools needed | 840 | 2520 | 5 | 500 ft wire spools needed | 840 | 4200
0 | 1000 ft wire spools needed | 1680 | 0 | 0 | 1000 ft wire spools needed | 1680 | 0
|  | Inst. Tot | 7850 |  |  | Inst. Tot. | 10434
* All data is a rough estimation and can vary on a number of variables ranging from fluctuations in material costs to equipment rental rates

## No Integra wiring model (hidden)
Assumes 500 ft. spools are used for all runs under 500 ft., 1000 ft. spools for runs over 500 ft. |  |  |  |  | Assumes 500 ft. spools are used for all runs under 500 ft., 1000 ft. spools for runs over 500 ft.
Shortest Dispenser Home Run | 100 | dispenser | 1 | 100 | Shortest set of Tank Runs | 150 | Tank | 1 | 150
# of Dispenser runs under 170 ft. | 3 |  | 2 | 135 | # of tank runs under 170 ft. | 1 |  | 2 | 185
# of Dispenser runs between 170 and 250ft. | 1 |  | 3 | 170 | # of tank runs between 170 and 250ft. | 1 |  | 3 | none
# of Dispenser runs over 250ft. | 0 |  | 4 | 205 | # of tank runs over 250ft. | 0 |  | 4 | none
500 ft. Spools needed for Dispenser runs | 2 |  | 5 | none | 500 ft. Spools needed for one series of tank runs | 1 |  | 5 | none
# of pump runs over 500 ft. | 0 |  | 6 | none | # of tank runs over 500 ft. | 0 |  | 6 | none
1000 ft. spools needed for dispenser runs | 0 |  | 7 | none | 1000 ft. spools needed for one tank runs | 0 |  | 7 | none
|  |  | 8 | none |  |  |  | 8 | none
|  |  | Wire used | 610 | total spools needed for all tank runs |  |  | wire used (1 run) | 335
|  |  | wire wasted | 390 | 500 ft | 3 |  | Wire used for all runs | 1340
[5 empty] | 1000 ft | 0 |  | Wire Waste | 160
[8 empty] | Total wire waste with Int | 550
# of runs per tank
[5 empty] | Annular | 1
[5 empty] | STP | 1
[5 empty] | Sensor | 1
[5 empty] | LLD | 1
[5 empty] | total runs per tanks | 4
[5 empty] | Total 500ft spools needed for all tank runs | 5
[5 empty] | total 1000 ft spools needed for all tank runs | 0

## With Integra wiring model (hidden)
Assumes 500 ft. spools are used for all runs under 500 ft., 1000 ft. spools for runs over 500 ft.
Dispenser run | 240 | Shortest tank run | 150 | tank | 1 | 150
500 ft. spools needed | 1 | Longest/effective tank run | 185 |  | 2 | 185
1000 ft. spools needed | 0 | Number of runs | 3 |  | 3 | none
actual wire used | 240 | Total wiring to tanks | 555 |  | 4 | none
wire wasted on dis. Run | 260 | # of 500 ft spools needed | 2 |  | 5 | none
|  | # of 1000 ft spools needed | 0 |  | 6 | none
|  | wire wasted on tank runs | 445 |  | 7 | none
[5 empty] | 8 | none
|  | total wire waste | 705

## No Integra Conduit (hidden)
Accounts for runs from dispener and longest tank run, it's assumed all tanks use a separate conduit run and dispensers are grouped. All data in pieces of conduit
Dispenser conduit runs
Conduit run 1 (dis. 1-6) | 21
Conduit run 2 (dis 7-12) | 0
total dis. Run conduit | 21
Tank conduit runs
Tank 1 | 15
Tank 2 | 19
Tank 3 | 0
Tank 4 | 0
Tank 5 | 0
Tank 6 | 0
Tank 7 | 0
Tank 8 | 0
Total tank run conduit | 34
Total conduit | 55

## With Integra Conduit (hidden)
Accounts for run from dispener and longest tank run, if less than 6 tanks it's assumed all tank runs are in one conduit. All data in pieces of conduit.
Dispenser run conduit | 24
Tank run conduit | 19
total pieces of conduit | 43

## graphs (hidden)
| w/ integra | w/o Int. | % savings w/
Wire costs | 2520 | 4200 | 40%
Conduit costs | 731 | 935 | 21.82%
Labor costs | 2045 | 2745 | 25.5%
Misc. & Rentals | 2554 | 2554 | 0%
total costs | 7850 | 10434 | 24.77%
Wire use | 1050ft (2.1 spools) | 2980 (5.6 spools)
Wire Waste | 450ft (.9 spools) | 2020 ft. (4.4 spools)
conduit needed | 44 pieces | 77 pieces
| 440 ft. | 770 ft.
labor needed (rough) | 14.5 hours | 28.25 hours
| 1.8 days man labor | 3.6 days man labor